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Standard Work :Using a Reusable Tourniquet 


Process/Cycle: Safe and appropriate use of a reusable tourniquet

Roles/Positions: For all staff who take blood and or cannulate 

Equipment/Supplies/Systems Required: See Guideline and Competency Package for the Insertion, Management and Removal of a Peripheral Venous Cannula

Safety and Quality checks: 
	Safety Check
	Quality Check
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	STEP

	ROLE/PERSON
List role responsible for each task
	TASK/STEP DESCRIPTION
What action needs to be taken? 
	Rational 

	1.
	Person taking blood or inserting cannula
	All pre procedure actions must be followed according to Guideline and Competency Package for the Insertion, Management and
Removal of a Peripheral Venous Cannula and Guideline for Venepuncture and Obtaining a Venous Blood Sample Using a Sharp-Safe Device
	The guidance is for the use of a reusable tourniquet and does not replace any other guidance for any other procedure 

	2.
	Person taking blood or inserting cannula
	If the patient has a condition that means they are barrier or reverse barrier nurses, then a single use tourniquet must be used
	

	3.
	Person taking blood or inserting cannula
	If the patient has a condition that causes skin to flake, bruise or tear then a single use tourniquet should be used. 
	Flakes of skin may get caught in the buckle mechanism making it hard to clean.

	4.
	Person taking blood or inserting cannula
	Once used the reusable tourniquet must be cleaned using Tristel and according to Chemical cleaning of reusable tourniquets (TQ) risk assessment 
	

	5.
	Person taking blood or inserting cannula
	The device must be given adequate time to dry between use, this means in high use areas there will be a need for more than one device.
	To allow for full decontamination by Tristel 
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