Standard Work :Using a Reusable Tourniquet

Process/Cycle: Safe and appropriate use of a reusable tourniquet

Roles/Positions: For all staff who take blood and or cannulate

Equipment/Supplies/Systems Required: See Guideline and Competency Package for the Insertion, Management and Removal of a Peripheral Venous Cannula

Safety and Quality checks:

| Safety Check | Quality Check |
| --- | --- |

| # STEP | ROLE/PERSON List role responsible for each task | # TASK/STEP DESCRIPTION What action needs to be taken? | Rational |
| --- | --- | --- | --- |
| 1. | Person taking blood or inserting cannula | All pre procedure actions must be followed according to Guideline and Competency Package for the Insertion, Management and Removal of a Peripheral Venous Cannula and Guideline for Venepuncture and Obtaining a Venous Blood Sample Using a Sharp-Safe Device | The guidance is for the use of a reusable tourniquet and does not replace any other guidance for any other procedure |
| 2. | Person taking blood or inserting cannula | If the patient has a condition that means they are barrier or reverse barrier nurses, then a single use tourniquet must be used |  |
| 3. | Person taking blood or inserting cannula | If the patient has a condition that causes skin to flake, bruise or tear then a single use tourniquet should be used. | Flakes of skin may get caught in the buckle mechanism making it hard to clean. |
| 4. | Person taking blood or inserting cannula | Once used the reusable tourniquet must be cleaned using Tristel and according to Chemical cleaning of reusable tourniquets (TQ) risk assessment |  |
| 5. | Person taking blood or inserting cannula | The device must be given adequate time to dry between use, this means in high use areas there will be a need for more than one device. | To allow for full decontamination by Tristel |

Photo Page (optional; use as many sections as needed and post with the standard process description)